|  | Securities and Exchange Commission of Pakistan 63-NIC Building, Blue Area, Islamabad (Administration Department) ******* |
| --- | --- |

Subject: Quotations required for Supply and Installation of 03 IP Based Security Surveillance System.

The Commission intends to purchase 03 IP Based Security Surveillance System as per specifications given at Annex – A

Terms and Conditions:

- Price: must be inclusive of all taxes applicable by Govt. of Pakistan.

- Validity: Minimum 30 Days from quoted date.

- Bid Submission deadline: As per last date mentioned on SECP website.

- Quantity: Actual quantity may be increased or decreased as per requirements.

- Delivery: Within one week after issuance of PO

If you are interested, you may submit a sealed quotation for the above item/services to the undersigned within the specified period, at the following address: SECP, 63-NIC Building, Jinnah Avenue, Blue Area, Islamabad.

With best regards,

M. Ubaidullah Khalid

Assistant Director (Admin)

Annex – A

Terms of Reference for Supply and Installation of IP Based Security Surveillance System

| S. No. | Specification | QTY | Rate/Unit (PKR) | Total Cost (PKR) |
| --- | --- | --- | --- | --- |
| 1. | IP Cameras: - IR Camera-2MP Full HD Network, Small IR Bullet Camera. (Dahua Tech, Model HFW1200S is already installed in the building therefore the same or equivalent brand should be quoted) | 03 |  |  |
| 2. | PoE Switch (04 Port) | 01 |  |  |
|  | PoE Switch (08 port) | 01 |  |  |
| 3. | Installation Cost (LAN, Power Cable and any other material required for installation be specified and quoted separately. | 01 Job |  |  |
|  | Total Cost |  |  |  |

- Cameras are required to be installed at three different locations therefore site may be visited (10AM to 12.30 AM) for cable/material estimates.

Evaluation Criteria for IP Based Security Surveillance System:

Firms will be evaluated on following criteria:

Technical	: 60%

Financial	: 40%

Total 		: 100%

| S.NO | Technical Criteria | Points (60) |
| --- | --- | --- |
| 01 | Product Specifications/Features | 15 |
| 02 | Parts Warranty: 1 Year = 10 2 Years or more =15 | 15 |
| 03 | After Sale & Service Support 1 Year = 10 2 Years or more =15 | 15 |
| 04 | Clientage Profile: One mark for each reference of multi stories building & full marks for 5 or more similar clients | 5 |
| 05 | Geographical outreach Must have office in Islamabad | 5 |
| 06 | Experience: 5years or less=2.5 5-10 years or more =5 | 5 |